Emerging Methods for Rapid Antibiotic Susceptibility Testing

Aditi Sharma¹; Pawan Kumar Kanaujia¹*

¹Department of Biotechnology, Faculty of Health and Life Sciences, Mahayogi Gorakhnath University, Gorakhpur. Arogyadham, Balapar Road, Sonbarsa, Gorakhpur-273 007, Uttar Pradesh, India.

*Corresponding Author

Antimicrobial resistance (AMR) poses a global crisis, prolonging illness, elevating mortality, and driving up healthcare costs. Traditional phenotypic methods like broth microdilution and disk diffusion remain reliable but require 18-24 hours during which ineffective antibiotics exacerbate harm. Rapid Antimicrobial Susceptibility Testing (RAST) delivers results in under 1-4 hours, enabling rapid shifts from broad-spectrum empirical therapy to targeted stewardship.

Cutting-edge RAST technologies combined with phenotypic and genotypic approaches, including microfluidic AST with "lab-on-a-chip" systems that track single-cell bacterial growth in droplets for real-time monitoring and reduced time-to-result (TTR); morphokinetic cellular analysis (MCA) via Artificial intelligence (AI)- driven automated microscopy that evaluates live-cell morphology, metabolism, and susceptibility; next-generation sequencing (NGS) and metagenomics for direct sample sequencing to detect resistance genes, especially in polymicrobial infections and MALDI-TOF MS (Matrix-Assisted Desorption/Ionization-Time of Flight Mass Spectrometry) combined with biosensors for rapid biomarker identification and metabolic shift detection. Platforms like Selux DX and droplet microfluidics achieve >90% categorical agreement with reference standards and >60% TTR reduction. Machine learning further refines these tools by uncovering complex resistance mechanisms beyond PCR detection. Despite hurdles like high costs and regulatory barriers, RAST holds transformative potential for point-of-care AMR surveillance and personalized medicine within a single shift envisioning septic patients receiving optimal therapy upon arrival.